Semi-Annual Environmental Monitoring Report

Semestral report January – June 2025

September 2025

Kyrgyz Republic: Uch-Kurgan Hydropower Plant Modernization Project (formerly Energy Sector Project)

Prepared by the Open Joint Stock Company Electric Power Plants (Bishkek, Kyrgyz Republic) for the Asian Development Bank (ADB)

PUBLIC: This information is being disclosed to the public in accordance with ADB’s Access to Informaton Policy

This environmental monitoring report is a document of the borrower. The views expressed herein do not necessarily represent those of ADB's Board of Directors, Management, or Staff, and may be preliminary in nature. Your attention is directed to the "terms of use" section of ADB’s website.

In preparing any country program or strategy, financing any project, or by making any designation of or reference to a particular territory or geographic area in this document, ADB does not intend to make any judgments as to the legal or other status of any territory or area.

Table of contests

| 1. | INTRODUCTION………………………………………………………………………………………………. |  |
| --- | --- | --- |
| 1.1. | Preamble………………………………………………………………………………………………………... |  |
| 1.2. | Headline Information…………………………………………………………………………………………… |  |
| 2. | PROJECT DESCRIPTION AND CURRENT ACTIVITIES………………………………………………… |  |
| 2.1. | Project Description……………………………………………..………………………………………………. |  |
| 2.3 | Project Contracts and Management………………………………………………………………………….. |  |
| 2.2. | Project Activities During Current Reporting Period………………………………………………………….. |  |
| 2.3. | Description of Any Changes to Project Design……………………………………………………………… |  |
| 2.4. | Description of Any Changes to Agreed Construction methods……………………………………………. |  |
| 3. | ENVIRONMENTAL SAFEGUARD ACTIVITIES……………………………………………………………. |  |
| 3.1. | General Description of Environmental Safeguard Activities……………………………………………….. |  |
| 3.2. | Site Audits………………………………………………………………………………………………………. |  |
| 3.3. | Issues Tracking (Based on Non-Conformance Notices)…………………………………………………… |  |
| 3.4. | Trends…………………………………………………………………………………………………………… |  |
| 3.5. | Unanticipated Environmental Impacts or Risks…………………………………………………………….. |  |
| 4. | RESULTS OF ENVIRONMENTAL MONITORING…………………………………………………………. |  |
| 4.1. | Overview of Monitoring Conducted During Current Period………………………………………………… |  |
| 4.2. | Trends…………………………………………………………………………………………………………… |  |
| 4.3. | Summary of Monitoring Outcomes…………………………………………………………………………… |  |
| 4.4. | Material Resource Utilization…………………………………………………………………………………. |  |
| 4.4.1. | Current Period………………………………………………………………………………………………….. |  |
| 4.4.2. | Cumulative Resource Utilization……………………………………………………………………………… |  |
| 4.5. | Waste Management……………………………………………………………………………………………. |  |
| 4.5.1. | Current Period………………………………………………………………………………………………….. |  |
| 4.5.2. | Cumulative Waste Generation……………………………………………………………………………….. |  |
| 4.6. | Health and Safety……………………………………………………………………………………………… |  |
| 4.6.1. | Community Safety and Health………………………………………………………………………………… |  |
| 4.6.2. | Worker Safety and Health……………………………………………………………………………………... |  |
| 4.7. | Training………………………………………………………………………………………………………….. |  |
| 5. | FUNCTIONING OF THE SSEMP…………………………………………………………………………….. |  |
| 5.1. | SSEMP Review………………………………………………………………………………………………… |  |
| 6. | GOOD PRACTICE AND OPPORTUNITY FOR IMPROVEMENT……………………………………….. |  |
| 6.1. | Good Practice………………………………………………………………………………………………….. |  |
| 6.2. | Opportunities for Improvement……………………………………………………………………………….. |  |
| 7. | SUMMARY AND RECOMMENDATIONS…………………………………………………………………… |  |
| 7.1. | Summary………………………………………………………………………………………………………... |  |
| 7.2. | Recommendations……………………………………………………………………………………………... |  |

List of annexes

Annex: Environmental monitoring report at the Uch-Kurgan HPP………………………………………..

Table 1:

Table 2:

Table 3:

List of figures

Figure 1

Figure 2

Figure 3

Abbreviations

ADB 			Asian Development Bank

CC 			Construction Contractor

EMP 			Environmental Management Plan

ES 			Environmental Specialist

EHS 			Environmental Health & Safety

HPP 			Hydro Power Plant

HSE 			Health’s Safety & Environmental

MOI 			Ministry of Industry

MOE 			Ministry of Energy

IEE 			Initial Environmental Examination

IPID 			Investment Project Implementation Department within EPP

PAM 			Project Administration Manual

PIC 			Project Implementation Consultant

PIU 			Project Implementation Unit

EMR 			Environmental Monitoring Report

SAEPF 			State Agency on Environmental Protection and Forestry

SAEMR 			Semi-annual Environmental Monitoring Report

SSEMP 			Site Specific Environmental Management Plan

SIEE 			Supplementary Initial Environmental Examination

- INTRODUCTION

  - Preamble

This report represents the 11th Semi - Annual Environmental Monitoring Review (SAEMR) for Uch Kurgan Hydropower Plant Modernization Project, covering the period from January to June 2025 (EHS).

  - Headline information

As of June 30, 2025, 60% of the total design work had been completed. The rotor assembly has been completed and is awaiting lifting; the turbine main shaft, lower ring, head cover, support cover, and power unit No. 3 valves have arrived on site.

| Destination | Plan % as of 30 June | Actual % as at 30.06 |
| --- | --- | --- |
| (Design) | 60 | 60 |
| (Manufacture & Supply) | 70 | 70 |
| (Installation & Services) | 37 | 35 |

- PROJECT DESCRIPTION AND CURRENT ACTIVITIES

  - Project Description

The Uch-Kurgan HPP modernization project aims to improve the reliability and efficiency of the plant's equipment in compliance with EMP, SSEMP, and EHS requirements. The work covers three areas: design, manufacture and supply, and installation and services. The key task for this period is to prepare and carry out work in line with the schedule for Unit-3 and the technological “windows”

for shutdowns.

  - Project Contracts and Management

Project participants: CC — design, manufacturing, supply, installation, and testing; PIC — technical supervision, documentation approval, quality control, and EHS; GRP PIU on behalf of EPP — contract coordination and management; IPID and ADB — financing and safeguards requirements. Financial performance for the reporting period (Jan–Jun 2025): Number of payments: 9; Amount of payments: 2,503,621.81 (currency according to payment documents); Payment concentration dates:

April and June (main volume recorded on 22 April and 11 June).

  - Description of Any Changes to Project Design

During the reporting period from January to June 2025, the changes affected both the scope of work and the schedule milestones. Some of the adjustments were due to the refinement of design solutions and the sequence of work between design, manufacturing, and installation; while others were due to the consequences of supply logistics and the availability of technological “windows” for equipment shutdowns at the station. For a number of items, the contractor issued variations and notifications with requests to postpone deadlines and agree on alternative technical solutions. As of June 30, 2025, the quantitative impact of certain changes on the deadline and cost had not yet been finalized in the agreed documents, but these changes have already been taken into account in the operational adjustment of the production plan for the second half of the year, as well as in the update of the overall progress in each area. As a result, priority was shifted to the completion of critical project packages and the closure of operations tied to available shutdown windows in order to minimize the

accumulated backlog in manufacturing and installation.

  - Description of Any Changes to Agreed Construction Methods

During the reporting period, the principles and basic approaches set out in the previously agreed method statements were generally maintained; minor adjustments were made to procedures and the sequence of operations where necessary due to updated design decisions, delivery schedules, or changes in site availability. These adjustments were of a working nature and mainly concerned the reallocation of resources and the scheduling of operations to actual shutdown windows, as well as the strengthening of EHS measures in areas affecting material handling, work zone demarcation, and access control. No significant deviations from the agreed methods that would require a review of the original technologies or special exceptions were recorded in the period from January to June 2025; the changes applied were promptly reflected in the production plans and communicated to the

contractors on site through the existing briefing and control procedures.

- ENVIRONMENTAL SAFEGUARD ACTIVITIES

  - General Description of Environmental Safeguard Activities

During the reporting period, standard and enhanced EMP and SSEMP measures were implemented at the site, aimed at preventing pollution and minimizing risks.:

- Dust and air: moistening of driveways and open storage areas for inert materials, limiting the speed of vehicles on dirt roads, covering bulk cargo, using local shelters during operations that generate dust.

- Water protection measures: installation of drainage ditches and gutters, separate collection of “clean” and potentially contaminated effluents; prevention of construction materials and fuels and lubricants from entering watercourses; storage of liquids on sealed pallets; regular inspection of pumping and filtration units.

- Water protection measures: instalSoil and bottom sediments: elimination of spills during storage/transfer of fuels and lubricants; prompt localization and collection of contaminated soil using sorbents; separate temporary storage of removed bottom sediments with protection from atmospheric precipitation until removal.

- Hazardous substances and waste: separate collection and labeling of containers; availability of an emergency response kit (sorbents, boom barriers, shovels, containers) in all areas with fuel and lubricants; storage of batteries, lamps, oils, and paints in closed, ventilated rooms with a secondary pallet; maintenance of a waste movement log and contracts with licensed operators..

- Noise/vibration: temporary screens/shelters during noisy operations, regulation of working hours, maintenance of mechanisms to reduce vibration.

- Communication and training: introductory and targeted briefings, thematic toolbox talks before risky operations; informing employees and subcontractors about sensitive areas and restricted zones; posting waste disposal and emergency procedures on notice boards.

  - Site Audits

During the first half of the year, regular patrols and inspections were conducted to assess the environmental condition of work areas, warehouses, temporary waste storage sites, and fuel storage areas. The checks included monitoring the labeling of hazardous materials, the condition of secondary pallets, the availability of emergency response kits, the integrity of inert material shelters, the availability of logbooks, and the validity of substance safety data sheets. Based on the results of the inspections, contractors were given specific instructions on how to eliminate deviations within the established deadlines; the closure of comments was monitored by repeat inspections. Particular attention was paid to areas with temporary earthworks and areas of potential surface runoff to water, where prompt prevention of erosion and particle washout was required.

  - Issues tracking (Based on Non-Conformance Notices)

Non-conformities were recorded in accordance with the established procedure: description of the event, risk category, root cause, corrective/preventive measures, and closure date. The nature of typical non-conformities during the reporting period included: absence/incorrect labeling of containers with hazardous materials, untimely replacement/installation of secondary pallets under containers with fuel and lubricants, occasional cases of mixing waste streams, insufficient frequency of watering driveways in hot weather. Responsible persons and deadlines were assigned for each case; repeated non-compliances of the same type were linked to additional training and enhanced

monitoring in a specific area to prevent recurrence.

  - Trends

At the end of the first half of the year, there was a noticeable improvement in discipline in fuel and hazardous materials storage areas: the number of complaints about the lack of secondary pallets and cluttered storage areas decreased, and the practice of regularly watering driveways during periods of high dust levels stabilized. At the same time, vulnerability to the “human factor” remained in areas with shift work by contractor teams: non-compliance occurred more frequently during staff rotations. This required increasing the regularity of targeted briefings and visual reinforcement of requirements (reminder posters in workplaces).

  - Unanticipated Environmental Impacts or Risks

During the reporting period, additional risks arose due to weather conditions (episodes of strong winds and localized downpours) and planning and logistical constraints (linking operations to technological “windows” and the arrival of supplies). Gusty winds briefly increased dust levels in open warehouses and driveways, which was offset by increased watering and local shelters. Heavy rainfall required prompt restoration of slopes and temporary drainage systems, as well as checks of collection devices for suspended solids. No significant accidental spills of hazardous substances or fuel and lubricants occurred; readiness to respond was ensured by the availability of sorbent kits and

trained personnel on duty.

- RESULTS OF ENVIRONMENTAL MONITORING

  - Overview of Monitoring Conducted During Current Period

During the six-month period, regular monitoring of water, air, soil, and bottom sediment quality was carried out at representative points within the area affected by the works. The program included field sampling, laboratory analysis using standard methods, visual inspections of areas of potential surface runoff, and checks on the handling of hazardous substances and waste. Physical impact parameters were monitored separately, including air dustiness and suspended particle content in

water during periods of intensive work and adverse weather conditions.

  - Trends

At the end of the first half of the year, overall water indicators for ammonium, nitrite, and nitrate nitrogen were normal, with no upward trends. However, during periods of high wind and precipitation, water turbidity periodically increased, resulting in an increase in suspended solids. No significant deterioration was observed in soils, including areas with historically elevated natural background levels. locally, mercury levels were recorded that did not exceed the standard and amounted to 58% of the maximum permissible concentration, which confirms the predominantly natural nature of the background anomaly and the absence of influence of current work on the accumulation of metal in

the soil horizon.

  - Summary of Monitoring Outcomes

Water (quality):

- Ammonium nitrogen: actual values < 0.078 mg/L — normal.

- Nitrite nitrogen: 0.012–0.015 mg/L — normal.

- Nitrate nitrogen: 0.45–0.59 mg/L — normal.

- Suspended solids: with a norm of 0.25–0.75 mg/l, actual values during periods of unfavorable weather reached 1.40–1.80 mg/l — exceedances were recorded; strengthening of erosion control and retention measures made it possible to stabilize indicators after local spikes.

Soils and bottom sediments:

- Mercury in soils: levels up to ~58% of the maximum permissible concentration (below the regulatory limit); no signs of anthropogenic growth were detected during the period.

- Bottom sediments: no significant changes beyond expected seasonal fluctuations were

observed; monitoring continues as planned.

Air (dustiness):

- Occasional increases in dust on roads and open storage areas on windy days were offset by increased frequency of moistening and covering of bulk materials; no sustained deterioration in

background conditions were observed.

  - Material Resource Utilization

    - Current Period

Water supply to the site was provided as usual; water was used mainly for technological needs and dust suppression. Electricity and fuel consumption corresponded to production activity during the period without any unscheduled surges; during dust suppression, there was a short-term increase in water consumption and fuel consumption by automatic watering equipment on windy, dry days.

    - Cumulative Resource Utilization

The growing consumption of resources over the half-year is characterized by a uniform profile without spikes indicating inefficiency or leaks. No exceedances of internal limits and restrictions on water and energy use were recorded during the period.

  - Waste Management

    - Current Period

Waste was handled separately: inert, construction, and municipal waste was stored at temporary storage sites; hazardous waste (used oil, batteries, lamps) was stored in closed rooms with secondary pallets and labeling. Isolated cases of mixing of waste streams were promptly eliminated, containers were relabeled, and sites were brought up to the required condition.

    - Cumulative Waste Generation

Over the six-month period, stable rates of waste removal and transfer to licensed operators were maintained without any accumulation of waste at the site. Requirements for the storage, accounting, and transfer of hazardous waste were complied with; no violations of storage periods

were allowed.

  - Health and Safety

    - Community Safety and Health

Given the proximity of water bodies and transport routes, attention was paid to dust control, prevention of sediment transport, and road safety. No socially significant incidents, accidental spills, or impacts requiring external notification were recorded. When working near water,

additional measures were taken to prevent flooding and turbidity.

    - Worker Safety and Health

The introduction of the work was accompanied by regular briefings and toolbox talks, with particular emphasis on the handling of fuel and lubricants, working at height, storage of materials, and spill response procedures. No significant environmental incidents were reported at the production sites; readiness to respond was ensured by the availability of sorbents, side barriers,

and trained personnel.

  - Training

During this period, scheduled introductory, refresher, and targeted briefings were held, as well as brief thematic sessions prior to high-risk operations. A positive effect has been noted: a reduction in the recurrence of typical non-conformities in hazardous material storage areas and

more consistent dust suppression discipline in adverse weather conditions.

- FUNCTIONING OF THE SSEMP

  - SSEMP Review

During the reporting period, the SSEMP was used as a working risk management tool: regulatory measures were implemented for dust suppression, water drainage, handling of fuel and hazardous materials, separate waste collection, and staff training. The production environmental control schedule was adhered to: sampling and visual inspections were carried out at the specified points and intervals. Based on the results of the inspections, corrective action tasks were drawn up (restoration of shelters, replenishment of sorbents, re-marking of containers, tidying up storage areas). In terms of communication with contractors, brief targeted briefings were used before high-risk operations, which reduced the recurrence of typical deviations. No significant incidents or complaints were recorded in relation to interaction with the community and water users; road safety and dust issues were resolved promptly by increasing watering and

implementing local restrictive measures.

- GOOD PRACTISE AND OPPORTUNITY FOR IMPROVEMENT

  - Good Practice

1. Emergency response readiness: spill response kits (absorbents, booms, containers) are located in critical areas, and on-call teams are trained in response procedures.

2. Secondary sealing of fuel and lubricants: widespread use of pallets/trays under containers and barrels, regular leak checks.

3. Dust suppression based on triggers: increased watering frequency in windy/dry conditions, covering of bulk materials during storms.

4. Separate waste collection: color-coded containers and visual flow charts on stands.

5. Operational toolbox talks: brief, targeted briefings before high-risk work (fuel, earthworks, work near water).

6. Photo confirmation of closure of comments: recording “before/after” for quality control of elimination.

  - Opportunities for Improvement

1. Standardize the labeling of hazardous materials (uniform label template with hazard class and opening date) / CC warehouse service / by 08/31/2025 / 100% of containers correctly labeled during inspection.

2. Introduce a road watering log with weather triggers (wind speed, temperature) / CC HSE / from 01.08.2025 / no exceedances of suspended solids after rain and wind.

3. Strengthen erosion control measures on slopes (geotextiles, temporary troughs, barriers) in vulnerable areas / CC construction site / by 15.08.2025 / no suspended solids carried away during control inspections after precipitation.

4. Create “fuel storage location cards” (person responsible, checklist, date of last inspection) / CC + PIC / by 15.08.2025 / ≥ 95% of storage locations with up-to-date cards.

5. Consolidate the NCR/NOI matrix for ecology (type/cause/recurrence) and analyze the top 3 causes monthly / PIC / from 07/31/2025 / reduction of recurring NCRs of one type ≥ 50% in 2 months.

6. Mini-briefing for shift teams of “newbies” (15 minutes) with a checklist on EMP / SSEMP / CC/ from 01.08.2025 / absence of “newbie” violations in the first 2 weeks of work.

- SUMMARY AND RECOMENDATIONS

  - Summary

During January–June 2025, environmental monitoring was carried out in accordance with EM and SSEMP. The main indicators for water (ammonium, nitrite, nitrate nitrogen) were within normal limits; occasional exceedances of suspended solids (1.40–1.80 mg/l, with a normal range of 0.25–0.75 mg/l) were short-lived and were mitigated by enhanced erosion control and retention measures. In soils, mercury levels of up to ~58% of the maximum permissible concentration were recorded, with no signs of anthropogenic growth; no significant deviations were noted in bottom sediments. No significant fuel spills or incidents affecting the community were recorded. Fuel storage discipline, labeling, and dust suppression have improved, but areas with rotating crews still require increased attention to introductory training and visual cues. Overall, the SSEMP measures in place are effective and consistent with the site's risk profile.

  - Recommendations

1. Establish a dust suppression trigger log (wind/temperature) and make it mandatory for all shifts.

2. Achieve 100% standardized labeling of containers with hazardous materials; introduce a “fuel storage location passport.”

3. Strengthen erosion control measures on slopes and at drainage outlets before the start of the heavy rainfall season.

4. Maintain a monthly NCR/NOI matrix for ecology with repeatability analysis and targeted actions for the top 3 causes.

5. Introduce mandatory 15-minute eco-briefings for new/replacement crews with a “minimum EMP/SSEMP requirements” checklist.

6. Continue “before/after” photo confirmation upon closure of comments, store collections by zone, not just by date, for management visibility.

7. Generate a quarterly overview of resource use and waste (period/cumulative total) with a simple dashboard; use for early detection of inefficiencies. 8. Conduct spot drills on spill containment (once per quarter) in key areas — recording response times and equipment shortages.

- Список источников (использована информация за январь-июнь 2025 г.)

- Annex a-Disbursement schedule,cash-flow chart.xlsx

- Annex b-Time schedule of unit 3 for Uch Kurgan project-20250727.pdf

- Annex c-Outage schedule.pdf

- 2025-08_No.3 Progress Measurement Report For Design-Uckhpp_20250831.xlsx

- Annex e-Progress S-curves.xlsx

- Annex j-List of Design Documents Still Not Provided and Submission Plan.xlsx

- Annex i-Photo Record.pdf

- Annex h-List of variations, notices.pdf

- Annex g-FAT list.pdf

- Annex f-Drawing List.xlsx

- Annex k-Copy of shipment invoices.xlsx

- Monthly Progress Report-08.2025.pdf

- 2025-08  No.5  Progress Measurement Report for Installation and Other Services.xlsx

- 2025-08_Manufacturing of equipment to be installed in Year 2025.xlsx

- 2025-08_No.1 Progress Measurement Report for Manufacture.xlsx

ANNEX

Environmental monitoring report at the

Uch-Kurgan HPP

For the period January-June 2025

Prepared by Dj. Aitmatova,

environmental protection specialist,

health and safety

CNEEC company, General contractor

ADB project for the modernization of the Uch -Kurgan HPP

Shamaldysai -Bishkek 2025

Table of contents

- INTRODUCTION	3

2. GENERAL CHARACTERISTICS OF THE RESEARCH OBJECT	3

3. RESEARCH METHODOLOGY	5

3.1. Responsible laboratories	6

3.1.1. Status and certification	6

3.1.2. Equipment and methods	6

3.1.3. Areas of activity	7

3.1.4 Work standards	7

3.1.5. Quality control	7

3.2.1. Status and certification	8

3.2.2. Equipment and methods	8

3.2.3. Areas of activity	8

3.2.4. Work standards	9

3.2.5. Quality control	9

3.2.6. Contacts and location	9

3.3. Initial monitoring data	9

3.4. Monitoring mrthodology	10

4. LABORATORY RESEARCH RESULTS	12

4.1. Research by the kadamzhay laboratory	12

4.1.1. River water quality	12

4.1.2. Heavy metal content in soil	12

4.1.3. Heavy metal content in bottom sediments	13

4.1.4. Physical impact parameters	13

4.2. RESEARCH BY THE LABORATORY OF THE DEPARTMENT OF ECOLOGICAL MONITORING OF THE MINISTRY OF NATURAL RESOURCES, ECOLOGY, AND TECHNICAL SUPERVISION	14

4.2.1. Chemical composition of water	14

4.2.2. Mercury and petroleum product content in soil	14

4.2.3. Heavy metal content in soil	15

4.2.4. Heavy metal content in bottom sediments	15

5. COMPARATIVE ANALYSIS OF DATA FROM TWO LABORATORIES	16

6. ANALYSIS OF REGULATORY FRAMEWORK AND INTERNATONAL STANDARDS	16

7.ASSESMENT OF THE ECOLOGICALSITUATION	17

7.1. Critical findings	17

7.2. Positive aspects	18

7.3. Ecological risk zones	18

8. CONCLUSIONS AND RECOMMENDATIONS	19

8.1. Main conclusions	19

8.2. Recommendations	19

8.3. Monitoring measures	20

8.4. Estimation of required resources	20

8.5. Expected results	21

CONCLUSION	21

1. ВВЕДЕНИЕ

This report is based on the results of scheduled comprehensive environmental monitoring of the Uch-Kurgan HPP territory conducted in March-April 2025. The research was carried out by two independent accredited laboratories: the Kadamzhai Laboratory, which conducted analyses on March 13, 2025, and the laboratory of the Department of Environmental Monitoring of the Ministry of Natural Resources and Environmental Protection of the Kyrgyz Republic, which conducted research on April 4, 2025.

The purpose of the monitoring was to conduct a comprehensive assessment of the state of the environment in the area affected by the HPP, including analysis of the quality of water, soil, bottom sediments, atmospheric air, as well as parameters of physical impact, such as noise and vibration. This work is planned and, therefore, regular in nature and particularly relevant, since the Uch-Kurgan HPP is an important energy infrastructure facility of the Kyrgyz Republic, and environmental monitoring of its territory is necessary to assess the current state of environmental components, identify possible sources of pollution, monitoring compliance with environmental legislation, and developing measures to minimize environmental risks. The research was conducted in accordance with the current regulatory framework, including the Law of the Kyrgyz Republic “On Environmental Protection” No. 53 of 1999, Kyrgyz Republic Government Resolution No. 201 of April 11, 2016, Kyrgyz Republic sanitary rules and regulations adapted from Russian and international standards, State Standard 17.4.4.02-2017 "Nature Protection. Soils," as well as sanitary rules and standards 2.1.7.1287-03, which is a Russian standard applied in the Kyrgyz Republic.

2. ОБЩАЯ ХАРАКТЕРИСТИКА ОБЪЕКТА ИССЛЕДОВАНИЯ

The Uch-Kurgan HPP is located in the Jalal-Abad region of the Kyrgyz Republic, in the town of Shamaldy-Sai, on the Naryn River. As part of the monitoring, a systematic study of a large area covering various components of the environment was organized.

The Uch-Kurgan HPP is located on the Naryn River in the Jalal-Abad region, in western Kyrgyzstan. It is located approximately 140 km downstream from the Toktogul HPP and 500 km from the country's capital, Bishkek. The HPP is located 3 km from the village of Shamaldy-Sai. The industrial site is fenced, landscaped, and planted with greenery. The terrain is flat, and the roads on the site are paved.

The Uch-Kurgan HPP is the first station built in the cascade of HPPs on the Naryn River and occupies its lower stage. The cascade includes the following stations (from top to bottom): Kambarata HPP-2 (120 MW), Toktogul HPP (1,200 MW), Kurpsai HPP (800 MW), Tash-Kumyr HPP (450 MW), and Shamaldy-Sai HPP (240 MW).

The Uch-Kurgan HPP site includes a section of hydraulic structures, including the HPP building, an open switchgear (ОРУ) for 110 kW, an oil storage area, an administrative and production building, a mechanization and transport site, a wastewater collection facility (septic tank), and a checkpoint with military security. The facility has an operational team (operational group), an electrical machine shop, an electrical engineering laboratory, a hydraulic section, an electrical section, and a machine section.

Photo 1. Map of the surroundings of the Uch-Kurgan HPP and the town of Shamaldisai

The dam of the Uch-Kurgan HPP is equipped with four water conduits for hydro generators, eight bottom spillways, one surface spillway, two water intake structures for irrigation canals, and three gantry cranes. Each water intake unit is equipped with two gates and two water intake screens, and a mechanism for cleaning the screens is installed on the crest of the dam. A set of butterfly valves is provided to isolate one of the suction pipelines.

The bottom spillways are equipped with emergency gates in the upper reach and working gates in the lower reach. The surface spillway is equipped with a double-leaf gate and sluice gates. The water intakes of the left-bank and right-bank irrigation canals are equipped with flat gates for regulating the water level and emergency gates for emergency shutdown and maintenance.

Two gantry cranes are located on the crest of the dam to control the water intake gates, maintain the grilles, install emergency bottom spillway gates, and surface spillway gates. Another gantry crane is installed in the lower reach to install the working wheel gates and maintain the bottom spillway gates.

For water bodies, sampling points W1 to W8 were identified for river water testing, including the Namangan water channel, also known as the BNK “Aksy water channel” or “Kok water channel,” the Left Bank channel, and various sections of the Naryn River above and below the hydroelectric dam. Soil cover was studied at ten sampling points in the area affected by the hydroelectric power plant, with the mandatory inclusion of a control background point for comparative analysis. Bottom sediments were studied at points DO1 to DO9, covering an area from 500 meters below the hydroelectric power plant to 17.5 kilometers above the dam, which provided a complete picture of the distribution of pollutants along the river.

3. МЕТОДОЛОГИЯ ПРОВЕДЕНИЯ ИССЛЕДОВАНИЙ

The Kadamzhai laboratory conducted its research on March 13, 2025, covering a wide range of parameters. As part of this work, heavy metals in water, soil, and bottom sediments were analyzed for eight elements in each environment, microclimate parameters and atmospheric air quality were studied using six indicators, and noise and vibration levels were measured on the site.

The laboratory of the Department of Environmental Monitoring of the Ministry of Public Health of the Kyrgyz Republic conducted research on April 4, 2025, focusing on the chemical composition of water with an analysis of fourteen indicators, the content of heavy metals in the soil for six elements with additional determination of mercury and petroleum products, as well as the study of heavy metals in bottom sediments for four elements.

Both laboratories used standardized analysis methods in accordance with GOST 17.4.4.02-2017, GOST 17.4.4.02-84 for determining mercury in soils, ISO 16772:2004 for analyzing mercury in bottom sediments, as well as internal enterprise standards STP 02-02-2022, STP 02-03-2022, and SP 11.102-04-2022.

3.1. Ответственные лаборатории

3.1.1. Статус и сертификация

All sampling, processing, and subsequent instrumental analysis were performed by the licensed Sanitary and Hygiene Laboratory of the Interregional Kadamzhai Center for Disease Prevention and State Sanitary and Epidemiological Surveillance of the Kyrgyz Republic using equipment that had undergone appropriate training, calibration, and certification. The data is analyzed in accordance with national standards, and in their absence, international standards are used.

The Sanitary and Hygiene Laboratory of the Interregional Kadamzhai Center for Disease Prevention and State Sanitary and Epidemiological Surveillance is an accredited institution that performs a wide range of research and testing in various fields. The laboratory is located in the Batken reg., Kadamzhai, Bolnichnaya Street, 5.

The laboratory has an accreditation certificate issued in accordance with the requirements of the international standard GOST ISO/IEC 17025-2019, which confirms its competence in conducting tests and calibrations (certificate No. KG 417/KCA.IL.101). This accreditation allows the laboratory to perform work at a high level, guaranteeing the reliability and accuracy of results.

The laboratory undergoes annual verification and calibration of equipment at reputable metrology centers, such as the Bishkek Center for Testing, Certification, and Metrology. For example, air analysis equipment, including aspirators and gas analyzers, has valid verification certificates and confirmed metrological traceability.

3.1.2.Оборудование и методики

The State Sanitary and Epidemiological Surveillance is equipped with modern equipment for analyzing air, surface water, soil, and bottom sediments, as well as for measuring noise and vibration levels. Key instruments include:

- Gas analyzers for determining the content of substances such as NO, SO2, CH2O, CH4, H2S, and C1-C12 hydrocarbons. All analyzers are certified and undergo regular calibration.

- Noise-vibrometers of the Ekofizika-110A type, used to measure noise and vibration characteristics, with valid calibration certificates.

- Aspirators for air sampling with valid metrological certificates.

- High-precision laboratory scales that are calibrated annually to ensure measurement accuracy.

3.1.3. Области деятельности

The laboratory conducts analyses in the following areas:

- Analysis of atmospheric air:

  - Determination of concentrations of dust, carbon monoxide, sulfur dioxide, nitrogen dioxide, formaldehyde, and petroleum hydrocarbons.

  - Applicable standards and methodologies:

    - ГОСТ 17.2.3.01-86 — Rules for air quality control in populated areas.

    - ГОСТ 17.2.4.03-81 — Methods for measuring ammonia content.

    - РД 52.04.793-2014 — Determination of hydrogen chloride.

- Surface water analysis:

  - Determination of key physical and chemical parameters such as turbidity, pH, heavy metal content, petroleum products, and organic carbon.

  - Applicable standards and methodologies:

    - ПНД Ф 14.1:2.56-96 — Photocolorimetric determination of cyanides.

    - ГОСТ 31866-2012 — Determination of arsenic by voltammetry.

    - Collection of MU, approved by the Resolution of the Chief Medical Officer of the Kyrgyz Republic.

- Analysis of soils and bottom sediments:

  - Determination of heavy metals (mercury, lead, copper, cadmium), pesticides, and other contaminants.

  - Applicable standards and methodologies:

    - ГОСТ 26426-85 — Turbidimetric method for determining sulfates.

    - ПГД Ф 16.1:2:2.2.80-2013 — Methodology for performing measurements in bottom sediments.

    - МУ 31-11/05 — Developed by NPP “Tomanalit” ".

- Determining noise and vibration levels:

  - Conducting measurements at workplaces, in residential and public buildings.

  - Applicable standards and methodologies:

    - ГОСТ 12.1.012-2004 — Vibration. General safety requirements.

    - СН 2.2.4/2.1.8.566-96 — Vibration standards in residential and public buildings.

    - ГОСТ 23337-2014 — Methods for measuring noise in rooms.

3.1.4 Стандарты работы

The State Sanitary and Epidemiological Surveillance is guided by strict requirements and standards, including:

- ГОСТ ISO/IEC 17025-2019 — general requirements for laboratory competence.

- ГОСТ ISO/IEC 17020-2013 — requirements for inspection bodies.

- СанПиН 2.2.4.3359-16 — sanitary and epidemiological requirements for physical factors in the workplace.

3.1.5. Контроль качества

To ensure high-quality results, State Sanitary and Epidemiological Surveillance applies internal and external control procedures, including participation in interlaboratory comparisons and regular equipment checks. The laboratory also strictly adheres to customer data confidentiality. Thus, the sanitary and hygienic laboratory is a reliable partner in the field of environmental monitoring and sanitary and hygienic research, providing high-quality services in accordance with international standards.

3.2.1. Статус и сертификация

The DEM laboratory is accredited according to GOST ISO/IEC 17025-2019 (equivalent to ISO/IEC 17025:2017). Accreditation certificate No. KG 417/KCA.IL.049 was issued on August 12, 2022 by the Kyrgyz Accreditation Center (KCA); the certificate specifies the address: 34 Baitik Baatyra Street, Bishkek; and “temporary points” for sampling soil, coal, air, industrial emissions, and water are also noted.

The DEM entry with number KG417/ KCA.IL.049 is present in the current KCA register (with confirmation of compliance in 2024); The “Scope of Accreditation” appendix is posted as a separate file. After receiving accreditation, the DEM underwent its first inspection (August 28-30, 2023).

For reference on recognition: КЦА's status as a participant in ILAC MRA under ISO/IEC 17025 has been restored since October 2, 2018, which supports international recognition of the results of accredited laboratories.

3.2.2. Оборудование и методики

Fuel (coal). A coal quality testing laboratory was established at the DEM in 2023; staff (12 specialists) were trained and certified to work with equipment for determining ash content, moisture content, calorific value, carbon content, and sulfur content.

Water and soil. New equipment for surface and wastewater indicators and for land resource analysis is being purchased/supplied for DEM; specific items listed in the procurement include BOD5 analyzers (12-position with incubators), a water purification system (type I, deionization), and a rotary mill. Place of delivery: 34 Baitik Baatyra Street, Bishkek.

The scope of work according to the certificate and DEM profile includes sampling/analysis of air and industrial emissions, water, soil/sediment, as well as coal quality determination.

3.2.3. Области деятельности

DEM implements the state policy of environmental monitoring: it conducts chemical analyses and instrumental measurements of environmental pollution (air, water, soil/sediment, industrial emissions), as well as coal quality testing.

3.2.4.Стандарты работы

The basic competency standard is GOST ISO/IEC 17025-2019 (ISO/IEC 17025:2017), according to which the laboratory is accredited; recognition is carried out in the national accreditation system (KCA), which interacts with the international ILAC MRA system. Specific methods/standards for types of measurements are listed in the “Scope of Accreditation” section of the certificate.

All work is performed by the accredited testing laboratory DEM MPRETN KR (certificate No. KG417/KCA. IL.049 dated 12.08.2022) in accordance with GOST ISO/IEC 17025-2019; the results are recognized within the national accreditation system (KCA/ILAC MRA).

3.2.5. Контроль качества

DEM undergoes inspection supervision by KCA (recorded in MPRETN news for 2023) and maintains the validity of its entry in the register (status “Active”). This confirms compliance with the quality management and metrological support procedures required by ISO/IEC 17025.

3.2.6. Контакты и местонахождение

Address: 34 Baitik Baatyr Street, Bishkek (according to reference books — 3rd floor; opening hours 09:00–18:00). Tel.: +996 (312) 54-07-66.

3.3. Исходные данные по мониторингу

This environmental monitoring report has been prepared as part of the ADB project to modernize the Uchkurgan HPP in accordance with the obligations of the general contractor, CNEEC, which is responsible for regularly sampling environmental components for environmental monitoring. These obligations are enshrined in the Project Agreements and also comply with the environmental policies of the donor agency, the Asian Development Bank, and the national legislation of the Kyrgyz Republic. The report reflects the results of the second round of environmental monitoring conducted after the start of construction work at the site. The first round of monitoring took place in early March 2024, and the second was conducted eight months later, in early November 2024. Sampling was carried out by employees of the Kadamzhai Laboratory with the participation of representatives of CNEEC, the general contractor, and representatives of the SKR.

Analysis parameters for the second round of environmental monitoring

| № | Природная Среда/ Environmental component | Параметры для анализа/ Parameters for analysis |
| --- | --- | --- |
|  | Воздух | Диоксид азота (NO2), Оксид азота (NO), CO (окись углерода), диоксид серы (SO2), формальдегид, свинец (Pb ) |
|  | Шум и вибрация | Спектральный состав шума; уровень вибрации, Эквивалентный уровень шума |
|  | Почва | Тяжелые металлы в валовых и подвижных формах: свинец (РЬ), мышьяк (As), кадмий (Cd), медь (Си), олово (Sn), цинк (Zn), кобальт (Со), никель (Ni), ртуть (Hg); нефть и нефтепродукты, сернистые соединения |
|  | Вода | БПК5, СПАВ, Аммиачный Азот Нитритный Азот. Нитратный Азот Взвеси. pH, запах, цвет |
|  | Донные осадки | Тяжелые металлы в валовых и подвижных формах: свинец (РЬ), мышьяк (As), кадмий (Cd), медь (Си), олово (Sn), цинк (Zn), кобальт (Со), никель (Ni), ртуть (Hg); |

3.4. Методология мониторинга

Для определения локаций отбора проб воды на Уч-Курганской ГЭС были применены общепринятые подходы гидрохимического и экологического мониторинга. Обычно такие методы основываются на нескольких ключевых принципах:

- Географическая близость к основным гидротехническим сооружениям: Выбор мест выше и ниже плотины обусловлен необходимостью оценки изменений в качестве воды, вызванных самим сооружением, включая потенциальное воздействие на физико-химические параметры воды.

- Оценка воздействия на прилегающие экосистемы: Водные каналы, отходящие от реки, также рассматриваются как ключевые зоны отбора проб. Это позволяет изучить влияние гидротехнических работ на воду, питающую ирригационные системы или местные экосистемы.

- Сравнительный анализ качества воды: Выбор локаций до и после основных точек воздействия (например, сбросных сооружений) позволяет выявить разницу в концентрации загрязняющих веществ.

- Учет локальных особенностей водораздела: Используются данные гидрологических исследований и природных условий, таких как характер течения, скорость потока и глубина рек в различных участках.

Фото 2. Карта с точками отбора проб вокруг Уч-Курганской ГЭС

Все исходные данные по точкам отбора проб были систематизированы в сводную таблицу (Табл.2 ниже) и нанесены на карту (см. Рисунок 1 выше), включающую географические координаты и наименования объектов. Каждая точка отбора проб сопровождается фотографической документацией, что позволяет наглядно определять их пространственное положение. Такой подход обеспечит единообразие и стандартизацию при проведении последующих раундов исследований с использованием тех же точек пробоотбора.

Кадамжайская лаборатория провела свои исследования 13 марта 2025 года, охватив широкий спектр параметров. В рамках этой работы были проанализированы тяжелые металлы в воде, почве и донных отложениях по восьми элементам в каждой среде, изучены параметры микроклимата, качество атмосферного воздуха по шести показателям, а также измерены уровни шума и вибрации на территории объекта.

Лаборатория Департамента экологического мониторинга МПРЭТР КР выполнила исследования 4 апреля 2025 года, сосредоточившись на химическом составе воды с анализом четырнадцати показателей, содержании тяжелых металлов в почве по шести элементам с дополнительным определением ртути и нефтепродуктов, а также исследовании тяжелых металлов в донных отложениях по четырем элементам.

Обе лаборатории использовали стандартизированные методы анализа в соответствии с ГОСТ 17.4.4.02-2017, ГОСТ 17.4.4.02-84 для определения ртути в почвах, ISO 16772:2004 для анализа ртути в донных отложениях, а также внутренние стандарты предприятий СТП 02-02-2022, СТП 02-03-2022 и СП 11.102-04-2022.

4. РЕЗУЛЬТАТЫ ЛАБОРАТОРНЫХ ИССЛЕДОВАНИЙ

4.1. Исследования Кадамжайской лаборатории

4.1.1. Качество речной воды

Анализ проб речной воды на содержание тяжелых металлов показал отсутствие превышений предельно допустимых концентраций по всем исследованным параметрам.

Таблица 1. Содержание тяжелых металлов в пробах речной воды (мг/дм³)

| Элемент | ПДК (мг/дм³) | W2 | W3 | W3/3 | W4 | W5 | W6 | W7 | W8 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ртуть | 0,0005 | 0,00014±0,00028 | 0,00011±0,00022 | 0,00014±0,0028 | 0,00032±0,00064 | <0,00001 | 0,00005±0,00018 | 0,00016±0,0032 | 0,0003±0,0006 |
| Мышьяк | 0,01 | 0,005±0,00023 | 0,004±0,0002 | 0,004±0,0002 | 0,001±0,0002 | 0,0011±0,0002 | 0,0048±0,0014 | 0,001±0,0014 | 0,0023±0,00026 |
| Никель | 0,02 | <0,0005 | <0,0005 | <0,0005 | <0,0005 | <0,0005 | <0,0005 | <0,0005 | <0,0005 |
| Кобальт | 0,1 | <0,0005 | <0,0005 | <0,0005 | <0,0005 | <0,0005 | <0,0005 | <0,0005 | <0,0005 |
| Кадмий | 0,001 | <0,0001 | <0,0001 | <0,0001 | <0,0001 | <0,0001 | <0,0001 | <0,0001 | <0,0001 |
| Медь | 1,0 | <0,0005 | <0,0005 | <0,0005 | <0,0005 | <0,0005 | <0,0005 | <0,0005 | <0,0005 |
| Цинк | 1,0 | <0,0005 | <0,0005 | <0,0005 | <0,0005 | <0,0005 | <0,0005 | <0,0005 | <0,0005 |
| Свинец | 0,01 | <0,0001 | <0,0001 | <0,0001 | <0,0001 | <0,0001 | <0,0001 | <0,0001 | <0,0001 |

Содержание ртути во всех пробах находилось в диапазоне от менее 0,00001 до 0,0003±0,0006 мг/дм³ при ПДК 0,0005 мг/дм³. Концентрации мышьяка варьировались от 0,001 до 0,005 мг/дм³ при допустимом уровне 0,01 мг/дм³. Большинство других металлов, включая никель, кобальт, кадмий, медь, цинк и свинец, находились ниже предела обнаружения используемых методов анализа.

4.1.2. Содержание тяжелых металлов в почве

Исследование почвенного покрова выявило более сложную картину распределения загрязняющих веществ.

Таблица 2. Содержание тяжелых металлов в почве (мг/кг)

| Элемент | ПДК (мг/кг) | W1n-3 | W2n-3 | W3/2n-3 | W3/3n-3 | W4n-3 | W5n-3 | W6n-3 | W7n-3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Цинк | - | <1,0 | <1,0 | <1,0 | <1,0 | <1,0 | <1,0 | <1,0 | <1,0 |
| Свинец | 32 | <0,5 | <0,5 | <0,5 | <0,5 | 2,4±0,72 | <0,5 | <0,5 | <0,5 |
| Медь | - | <1,0 | <1,0 | <1,0 | <1,0 | <1,0 | <1,0 | <1,0 | <1,0 |
| Кадмий | - | <0,1 | <0,1 | <0,1 | <0,1 | 0,23±0,07 | <0,1 | <0,1 | <0,1 |
| Мышьяк | 10 | 5,9±1,8 | 3,0±0,8 | 13±3 | 7,8±2,0 | 2,5±0,5 | 2,2±0,7 | 3,5±1,1 | 1,8±0,3 |
| Никель | - | <0,4 | <0,4 | <0,4 | <0,4 | <0,4 | <0,4 | <0,4 | <0,4 |
| Кобальт | - | <0,5 | <0,5 | <0,5 | <0,5 | <0,5 | <0,5 | <0,5 | <0,5 |
| Ртуть | 2,1 | 0,01±0,0028 | 0,28±0,06 | 0,02±0,006 | 0,23±0,05 | 0,61±0,12 | 0,011±0,003 | 0,19±0,04 | 1,22±0,24 |

Фото 3. Отбор пробы почвы

Особого внимания заслуживает обнаруженное в точке W3/2n-3 превышение ПДК по мышьяку, где концентрация составила 13±3 мг/кг при норме 10 мг/кг для почв с нейтральной реакцией. Необходимо отметить, что в протоколах лаборатории была указана норма 2,0 мг/кг, соответствующая кислым почвам, однако для условий исследуемой территории корректным является применение норматива для нейтральных почв. Содержание ртути варьировалось в широких пределах от 0,01 до 1,22 мг/кг, при этом максимальное значение, обнаруженное в точке W7n-3, составило 58% от установленной ПДК 2,1 мг/кг.

4.1.3. Содержание тяжелых металлов в донных отложениях

Анализ донных отложений показал относительно благополучную ситуацию без превышений установленных нормативов.

Таблица 3. Содержание тяжелых металлов в донных отложениях (мг/кг)

| Элемент | ПДК (мг/кг) | DO 1-3 | DO 2-3 | DO 3-3 | DO 4-3 | DO 5-3 | DO 6-3 | DO 7-3 | DO 8-3 | DO 9-3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Цинк | - | <1,0 | <1,0 | <1,0 | <1,0 | <1,0 | <1,0 | <1,0 | <1,0 | <1,0 |
| Свинец | 32 | 18±5 | <0,5 | <0,5 | <0,5 | <0,5 | 6,8±0,5 | <0,5 | <0,5 | <0,5 |
| Медь | - | <1,0 | <1,0 | <1,0 | <1,0 | <1,0 | <1,0 | <1,0 | <1,0 | <1,0 |
| Кадмий | - | <0,1 | <0,1 | <0,1 | <0,1 | <0,1 | <0,1 | <0,1 | <0,1 | <0,1 |
| Мышьяк | 10 | 4,0±1,2 | 1,5±0,4 | 0,018±0,005 | 1,7±0,5 | 4,2±1,3 | 3,3±0,8 | <0,1 | 2,2±0,5 | 1,9±0,5 |
| Никель | - | <0,4 | <0,4 | <0,4 | <0,4 | <0,4 | <0,4 | <0,4 | <0,4 | <0,4 |
| Кобальт | - | <0,5 | <0,5 | <0,5 | <0,5 | <0,5 | <0,5 | <0,5 | <0,5 | <0,5 |
| Ртуть | 2,1 | 0,22±0,08 | 0,34±0,07 | 0,30±0,06 | 0,21±0,04 | 0,27±0,08 | 0,27±0,08 | 0,16±0,032 | 0,75±0,15 | 0,69±0,14 |

В донных отложениях наибольшие концентрации свинца были обнаружены в точке DO 1-3, составив 18±5 мг/кг, что не превышает ПДК 32 мг/кг. Содержание ртути находилось в диапазоне от 0,16 до 0,75 мг/кг, что значительно ниже установленного норматива.

4.1.4. Параметры физического воздействия

Измерения микроклимата в машинном зале 6А/1-3 выявили несоответствие температурного режима нормативным требованиям. Температура воздуха составила 9,6±1,44°C при норме 17-23°C, что указывает на недостаточное отопление помещения. Относительная влажность находилась в пределах нормы, составив 47,1±11,1% при допустимом диапазоне 40-60%. Скорость движения воздуха 0,2 м/с также соответствовала нормативным требованиям.

Фото 4. Замеры уровня вибрации рядом с машинным залом

Качество атмосферного воздуха по всем исследованным параметрам соответствовало установленным нормативам. Концентрация пыли варьировалась от 0,16 до 0,21 мг/м³ при ПДК 0,5 мг/м³. Содержание диоксида азота во всех точках было ниже 0,02 мг/м³ при норме 0,085 мг/м³. Концентрации оксида углерода находились в диапазоне от 0,01 до 0,04 мг/м³ при допустимом уровне 5,0 мг/м³. Диоксид серы, оксид азота и формальдегид во всех точках находились ниже предела обнаружения методик измерения.

Уровни шума на территории объекта не превышали допустимых значений. Снаружи машинного зала эквивалентный уровень звука составил 50,4±3 дБА, в административном здании - 49,2±2 дБА, на мосту - 48,4±2 дБА при допустимом уровне 55 дБА для всех точек. Уровни вибрации также соответствовали нормативным требованиям, составив 68,8±0,5 дБ снаружи машинного зала, 62,6±0,7 дБ в административном здании и 64,3±0,8 дБ на мосту.

4.2. Исследования лаборатории Департамента экологического мониторинга МПРЭТР КР

4.2.1. Химический состав воды

Лаборатория провела расширенный анализ химического состава воды по четырнадцати показателям. Результаты показали соответствие большинства параметров нормативным требованиям, за исключением содержания взвешенных веществ.

Таблица 4. Основные показатели качества воды

| Показатель | Единица измерения | ПДК | Диапазон значений | Заключение |
| --- | --- | --- | --- | --- |
| Азот аммонийный | мг/л | 0,4-1,5 | <0,078 | Норма |
| Азот нитритный | мг/л | 0,02-1,0 | 0,012-0,015 | Норма |
| Азот нитратный | мг/л | 9,0-10,2 | 0,45-0,59 | Норма |
| pH | - | 6,5-8,5 | 7,87-8,13 | Норма |
| Взвешенные вещества | мг/л | 0,25-0,75 | 1,40-1,80 | Превышение |
| БПК₅ | мгО/л | 3,0-4,0 | 1,67-2,13 | Норма |

Содержание азотсодержащих соединений находилось на низком уровне: азот аммонийный не превышал 0,078 мг/л, азот нитритный варьировался в узком диапазоне от 0,012 до 0,015 мг/л, азот нитратный составлял от 0,45 до 0,59 мг/л. Водородный показатель pH находился в оптимальном диапазоне от 7,87 до 8,13, указывая на слабощелочную реакцию воды. Прозрачность воды была высокой, составляя от 48 до 50 см по всем точкам отбора проб.

Критически важным является обнаруженное превышение норматива по взвешенным веществам. При установленной норме 0,25-0,75 мг/л фактические значения составили от 1,40 до 1,80 мг/л, что представляет собой превышение в 2-7 раз в зависимости от конкретной точки отбора пробы. Биологическое потребление кислорода за 5 суток (БПК₅) находилось в пределах нормы, варьируясь от 1,67 до 2,13 мгО/л при допустимом диапазоне 3,0-4,0 мгО/л, что указывает на относительно низкий уровень органического загрязнения.

Содержание тяжелых металлов в воде находилось на крайне низком уровне. Концентрации цинка, кадмия, свинца, меди и мышьяка во всех точках были ниже 0,001 мг/л, что значительно меньше установленных ПДК. Синтетические поверхностно-активные вещества (СПАВ) также не были обнаружены в значимых количествах, их содержание во всех пробах составило менее 0,015 мг/л при норме 0,1-0,5 мг/л.

4.2.2. Содержание ртути и нефтепродуктов в почве

Одним из наиболее важных результатов исследований стало обнаружение масштабного загрязнения почв нефтепродуктами.

Таблица 5. Содержание ртути и нефтепродуктов в почве

| № точки | Местоположение | Ртуть, мг/кг | Нефтепродукты, мг/кг | Кратность превышения |
| --- | --- | --- | --- | --- |
| 1124 | 500 м ниже ГЭС | 0,019±0,008 | 180,0±81,0 | 9 раз |
| 1125 | БНК "канал Аксы" | 0,010±0,004 | 120,0±54,0 | 6 раз |
| 1126 | 1500 м выше ГЭС | 0,022±0,009 | 40,0±18,0 | 2 раза |
| 1127 | Левобережный канал, начало | 0,019±0,008 | 60,0±27,0 | 3 раза |
| 1128 | Левобережный канал, у планки | 0,023±0,010 | 60,0±27,0 | 3 раза |
| 1129 | р.Нарын у начала Левобережного канала | 0,039±0,017 | 140,0±63,0 | 7 раз |
| 1130 | 3400 м выше дамбы | 0,020±0,009 | 40,0±18,0 | 2 раза |
| 1131 | 4200 м выше дамбы | 0,017±0,007 | <20 | норма |
| 1132 | 17,5 км выше дамбы | 0,058±0,026 | 40,0±18,0 | 2 раза |
| 1133 | Фон | 0,021±0,009 | <20 | норма |

Анализ пространственного распределения нефтепродуктов показывает четкую закономерность: максимальные концентрации обнаружены в непосредственной близости от ГЭС и гидротехнических сооружений. Наибольшее загрязнение зафиксировано в точке 1124, расположенной в 500 метрах ниже ГЭС, где содержание нефтепродуктов достигло 180 мг/кг, что в 9 раз превышает фоновые значения. Высокие уровни загрязнения также обнаружены в районе БНК "канал Аксы" с превышением в 6 раз и у начала Левобережного канала на участке реки Нарын с превышением в 7 раз.

Содержание ртути в почве по данным лаборатории МПРЭТР находилось в диапазоне от 0,010 до 0,058 мг/кг, что существенно ниже ПДК 10 мг/кг, установленной в нормативном документе СП 11.102-04-2022. Однако следует отметить, что эти значения значительно отличаются от результатов, полученных Кадамжайской лабораторией, где максимальное содержание ртути составило 1,22 мг/кг.

4.2.3. Содержание тяжелых металлов в почве

Анализ содержания основных тяжелых металлов в почве показал отсутствие превышений ПДК по всем исследованным элементам. Содержание меди варьировалось от значений ниже предела обнаружения до 1,6±0,5 мг/кг при ПДК 3 мг/кг. Концентрации цинка находились в диапазоне от 1,2 до 19,2 мг/кг при допустимом уровне 23 мг/кг, при этом максимальные значения были обнаружены в точках 1128 и 1129, соответствующих Левобережному каналу. Содержание свинца достигало 5,6±1,6 мг/кг в точке 1126 при ПДК 6 мг/кг, что близко к предельно допустимому значению. Кадмий, никель и кобальт во всех точках находились ниже предела обнаружения методики, составляющего 1 мг/кг.

4.2.4. Содержание тяжелых металлов в донных отложениях

Исследование донных отложений выявило относительно низкие уровни загрязнения тяжелыми металлами. Содержание меди варьировалось от 1,06 до 2,3 мг/кг с максимумом в точке 1137, расположенной в 1500 метрах выше ГЭС. Концентрации цинка находились в диапазоне от 1,4 до 6,4 мг/кг, при этом наибольшие значения были обнаружены в районе села Кум. Содержание свинца достигало 8,0±2,5 мг/кг также в точке у села Кум, что представляет собой максимальное значение среди всех исследованных точек. Кадмий во всех пробах находился ниже предела обнаружения.

5. СРАВНИТЕЛЬНЫЙ АНАЛИЗ ДАННЫХ ДВУХ ЛАБОРАТОРИЙ

Сопоставление результатов исследований, проведенных двумя независимыми лабораториями, выявило ряд существенных расхождений, требующих особого внимания и дополнительной верификации.

Наиболее критическое расхождение обнаружено в определении содержания ртути в почве. Кадамжайская лаборатория зафиксировала максимальное значение 1,22±0,24 мг/кг в точке W7n-3, в то время как лаборатория МПРЭТР КР обнаружила максимум лишь 0,058±0,026 мг/кг в точке 1132. Таким образом, расхождение между максимальными значениями составляет 21 раз, что не может быть объяснено только погрешностью методик или временным фактором. Минимальные значения ртути, определенные обеими лабораториями, сопоставимы и составляют около 0,01 мг/кг, что указывает на возможную корректность измерений в области низких концентраций.

По мышьяку также наблюдаются значительные различия. Кадамжайская лаборатория определила содержание мышьяка в воде на уровне 0,001-0,005 мг/л, в то время как лаборатория МПРЭТР зафиксировала значения менее 0,0001 мг/л. В почве мышьяк исследовался только Кадамжайской лабораторией, которая обнаружила превышение ПДК в точке W3/2n-3 с концентрацией 13±3 мг/кг при норме 10 мг/кг. Отсутствие данных по мышьяку в почве от лаборатории МПРЭТР не позволяет провести независимую верификацию этого критически важного результата.

Важно отметить, что анализ на нефтепродукты проводился только лабораторией МПРЭТР КР, выявившей масштабное загрязнение территории. Отсутствие аналогичных исследований со стороны Кадамжайской лаборатории не позволяет подтвердить или опровергнуть эти данные независимым анализом.

Возможными причинами выявленных расхождений могут являться различия в применяемых методиках анализа, различия в пробоподготовке и калибровке аналитического оборудования, а также возможные ошибки при отборе, транспортировке или хранении проб.

6. АНАЛИЗ НОРМАТИВНОЙ БАЗЫ И МЕЖДУНАРОДНЫХ СТАНДАРТОВ

В процессе анализа результатов исследований выявлена критически важная проблема существенных различий в нормативах предельно допустимых концентраций между различными странами и международными организациями. Эта проблема имеет принципиальное значение для оценки экологической ситуации и принятия управленческих решений.

Рассмотрим данную проблему на примере нормирования содержания ртути в почве и донных отложениях. В Кыргызстане и России применяется единый норматив ПДК ртути в почве, составляющий 2,1 мг/кг для всех типов почв. В Европейском Союзе согласно Директиве 86/278/ЕЭС максимально допустимое содержание ртути в почве установлено на уровне 1,0-1,5 мг/кг в зависимости от категории земель. Агентство по охране окружающей среды США (EPA) применяет дифференцированный подход: для жилых зон установлен рекомендуемый предел 0,3 мг/кг, а для промышленных зон - 23 мг/кг. Всемирная организация здравоохранения определяет критический уровень для донных отложений как 1,0 мг/кг, при этом фоновые значения по международным данным составляют 0,01-0,5 мг/кг.

Проблема выбора норматива критически важна для интерпретации результатов мониторинга. При использовании норм Кыргызстана и России превышений по ртути в почве не обнаружено, максимальное значение 1,22 мг/кг составляет лишь 58% от ПДК, и меры по ремедиации территории формально не требуются. При применении норм Европейского Союза в точке W7n-3 с концентрацией 1,22±0,24 мг/кг возможно превышение допустимого уровня, что требует дополнительного мониторинга и разработки превентивных мер. Если же использовать нормативы EPA для жилых зон, превышение обнаруживается в 5 из 8 исследованных точек, что требует срочных и масштабных мер по очистке территории.

Аналогичная ситуация наблюдается и с другими загрязнителями. Для мышьяка в почве нормативы варьируются от 2,0 мг/кг для кислых почв до 10-50 мг/кг в различных юрисдикциях. По свинцу диапазон нормативов составляет от 32 мг/кг в Кыргызстане до 400 мг/кг по стандартам EPA. Для нефтепродуктов в почве фоновое значение в Кыргызстане принято как 20 мг/кг, в то время как в ЕС и США допустимые уровни могут достигать 50-500 мг/кг в зависимости от категории земель.

Для объективной оценки экологической ситуации необходимо применять дифференцированный подход к выбору нормативов. Для территорий с жилой застройкой целесообразно использовать более строгие нормативы, такие как стандарты EPA для жилых зон, что обеспечит максимальную защиту здоровья населения. Для промышленных территорий допустимо применение действующих нормативов Кыргызстана, гармонизированных с российскими стандартами. Для водоохранных зон рекомендуется ориентироваться на международные стандарты ВОЗ, обеспечивающие защиту водных экосистем.

Важно учитывать функциональное зонирование территории при выборе применяемых нормативов. Зоны рекреации и жилая застройка требуют применения наиболее строгих нормативов для обеспечения безопасности населения. Промышленные площадки могут регулироваться действующими нормативами Кыргызстана. Для сельскохозяйственных угодий целесообразно использовать промежуточные значения, учитывающие как необходимость защиты здоровья, так и экономическую целесообразность.

Рекомендуется внедрение системы экологического риска с градацией уровней реагирования. При достижении 70% от ПДК следует организовать усиленный мониторинг с увеличенной частотой отбора проб. При достижении 90% от ПДК необходима разработка превентивных мер и подготовка плана ремедиации. При превышении ПДК требуются немедленные меры по очистке территории и устранению источников загрязнения.

7. ОЦЕНКА ЭКОЛОГИЧЕСКОЙ СИТУАЦИИ

7.1. Критические находки

The most serious environmental problem identified during monitoring is extensive soil contamination with petroleum products. Analysis of the results shows that 80% of the studied territory exceeds background values. At the same time, 30% of the territory shows an excess of 6-9 times, 50% of the territory shows an excess of 2-3 times, and only 20% of the territory corresponds to background values. The spatial distribution of oil product contamination has a clear pattern. Maximum concentrations of up to 180 mg/kg were found directly below the hydroelectric power station, which indicates that the station is the main source of pollution. High values of 120-140 mg/kg were recorded in the area of the canals, which may be associated with the operation of pumping stations and hydromechanical equipment. Moderate pollution of 40-60 mg/kg is observed upstream of the HPP. Background values of less than 20 mg/kg are characteristic only of areas remote from the station.

Possible sources of oil pollution include leaks from hydroelectric power plant equipment, including turbines, generators, and auxiliary mechanisms; spills during equipment maintenance and repair; historical pollution accumulated during the plant's operation; surface runoff from the plant's territory containing petroleum products from motor vehicles and machinery. The second most significant problem is the exceedance

of the MPC for arsenic at point W3/2n-3, located at the beginning of the Left Bank Canal below the dam. The measured value was 13±3 mg/kg with an MPC of 10 mg/kg, which represents an exceedance of up to 1.6 times, taking into account the measurement error. Possible reasons for the elevated arsenic content may include natural geochemical anomalies characteristic of the mountainous regions of Kyrgyzstan; leaching of arsenic from rocks during water filtration through the dam; and anthropogenic impact from historical economic activity.

Третьей значимой проблемой является повышенное содержание взвешенных веществ в воде. Во всех точках отбора проб обнаружено превышение норматива в 2-7 раз. При нормативе 0,25-0,75 мг/л фактические значения составили 1,40-1,80 мг/л. Это приводит к снижению прозрачности воды, ухудшению условий обитания водных организмов, заилению русла реки и каналов, а также снижению эффективности водозаборных сооружений.

7.2. Положительные аспекты

Despite the identified problems, a number of environmental parameters are within regulatory limits. The quality of atmospheric air meets the established requirements for all indicators studied. Noise and vibration levels do not exceed permissible values, which indicates that the equipment is operating correctly and that noise protection measures are effective. The content of most heavy metals in water is significantly below the maximum permissible concentration, which indicates that they are not entering the water from the HPP's technological processes. The BOD₅ and chemical oxygen demand indicators are within normal limits, indicating a low level of organic pollution. The pH of the water has optimal values of 7.87-8.13, which are favorable for aquatic ecosystems.

7.3. Зоны экологического риска

Based on the analysis, three categories of areas can be identified according to their level of environmental risk. High-risk areas include the territory within a 500-meter radius of the hydroelectric power plant with maximum oil product contamination, the beginning of the Left Bank Canal (LBC) with arsenic levels exceeding the maximum permissible concentration, and the BNK “Aksy channel” area with high oil product content. Medium-risk zones include areas 1,500-3,400 meters above the HPP with moderate oil pollution and areas with relatively high mercury content in the soil, reaching 58% of the MPC. Low-risk areas include territories more than 4 kilometers away from the HPP and background areas where anthropogenic impact is minimal.

8. ВЫВОДЫ И РЕКОМЕНДАЦИИ

8.1. Основные выводы

The environmental situation in the area of the Uch-Kurgan HPP is characterized as tense, with local areas of critical pollution. A comprehensive analysis of the monitoring results allows us to draw a number of important conclusions about the state of the environment in the studied territory.

The main environmental problem is large-scale soil contamination with petroleum products, covering 80% of the studied territory with background values exceeded by 2-9 times. This pollution is man-made and historical in nature and is associated with the long-term operation of the hydroelectric power plant, as confirmed by the maximum concentrations in the immediate vicinity of the station and hydraulic structures.

Significant discrepancies were found in the results of analyses conducted by two laboratories, particularly with regard to mercury content in soil, where the discrepancy reached 21 times. This indicates the need to standardize analysis methods and conduct arbitration studies to obtain reliable data on the state of the environment.

A local exceedance of the maximum permissible concentration of arsenic in the soil was detected in the area where the Left Bank Canal begins, with an exceedance of up to 1.6 times, which requires additional attention, the establishment of patterns of contamination, and an assessment of its potential danger.

Water quality is characterized by elevated levels of suspended solids at all sampling points, exceeding the standard by 2-7 times, which negatively affects the state of the aquatic ecosystem and the efficiency of water use. It should be understood that removing soil from the reservoir will not affect the ecological situation in the region in any way, and, moreover, the removed soil will first undergo a dewatering stage at the initial temporary storage site for bottom sediments.

Physical impact parameters, including noise, vibration, and atmospheric air quality, comply with regulatory requirements, which indicates the effectiveness of the protective measures applied in these areas. The existing regulatory framework requires harmonization with international standards for adequate assessment of

environmental risks and informed management decisions.

8.2. Рекомендации

To stabilize the environmental situation in the project area, it is recommended to implement a set of measures distributed according to their implementation deadlines.

Short-term measures (within 1–3 months). First and foremost, an in-depth investigation of possible sources of oil contamination must be conducted. This includes:

- inventory of equipment and infrastructure with increased environmental risk (tanks, pipelines, oil-filled equipment);

- visual diagnostics and collection of information on possible historical contamination; - conducting an independent analysis of samples in the presence of representatives of all interested parties, with a particular focus on toxicologically significant elements (e.g., mercury and arsenic);

- development of a plan of initial measures to localize and prevent further spread of contamination.

Medium-term measures (within 3–12 months). The next stage involves developing a program for the reclamation of individual soil areas and introducing a regular monitoring system. Measures include:

- selecting the most suitable cleaning methods (including biological and physicochemical methods);

-  phased introduction of sensors and water quality control systems;

- improvement of existing treatment systems to increase the efficiency of capturing oil products and other pollutants. Long-term measures (1–3 years). For the future, it is recommended to:

- develop and implement an environmental policy at the facility level; - gradual transition to less polluting technological solutions;

- restoration of disturbed areas of soil and vegetation cover and creation of sanitary protective green belts; - adaptation of elements of international standards, such as ISO 14001, taking into account local conditions.

8.3. Мониторинговые мероприятия

It is proposed to organize a three-level monitoring system for continuous control of the environmental situation. The operational level involves daily visual monitoring, rapid water analysis, and monitoring of treatment facilities. The regular level, conducted on a monthly basis, includes sampling and analysis of water samples for key indicators, monitoring of physical impact levels, and inspection of potential sources of pollution. The comprehensive level, conducted on a quarterly basis, provides for a complete chemical analysis of all components of the environment, an assessment of the effectiveness of environmental protection measures, and adjustments to the monitoring program.

8.4. Оценка необходимых ресурсов

The implementation of these measures will require the involvement of environmental specialists and consulting support. The costs will be determined as the scope and priority of specific measures are clarified. Some of the work can be carried out using internal resources and phased financing.

8.5. Ожидаемые результаты

The implementation of the proposed measures is expected to result in: stabilization of the environmental situation and improvement of water quality; increased transparency of environmental protection activities; strengthening of the facility's image as an environmentally responsible enterprise; reduction of risks to public health and the environment.

ЗАКЛЮЧЕНИЕ

This report is a comprehensive assessment of the environmental situation in the area of the Uch-Kurgan HPP based on data from two independent laboratories. The problems identified, especially the contamination of certain areas with petroleum products, require attention and management decisions.

It is noteworthy that partial contamination with petroleum products covers certain parts of the studied territory and may lead to negative consequences for the environment and public health. Discrepancies in the data from the two laboratories indicate the need to improve the environmental monitoring system and standardize analysis methods in the Kyrgyz Republic.

Given the discrepancies identified in the data and the environmental situation, it would be advisable to conduct additional research involving international experts and using modern methods of analysis.The implementation of the proposed measures will not only eliminate the identified violations and minimize environmental risks, but also bring the environmental safety of the facility to a qualitatively new level in line with modern international standards. This will ensure the sustainable operation of the Uch-Kurgan HPP as an important element of Kyrgyzstan's energy system with minimal impact on the environment.

Important: the negative results of sample analyses obtained at a number of points are not related to the work on cleaning the reservoir water area. They concern the condition of the soil in certain areas (not throughout the entire reservoir water area) and are most likely due to historical pollution. These factors have no impact on the dredging of bottom sediments using a dredger. Thus, the problems noted do not hinder the ongoing activities of the Uch-Kurgan HPP Modernization Project.